Telstra Preliminary Study Request & Response

| Customer Information: The Customer must have a currently executed Facilities Access Agreement or equivalent before Telstra will accept a Preliminary Study Request.The Customer requests that Telstra undertake a Preliminary Study for Facilities Access to Telstra Equipment Buildings. Email completed form to: TEBA.Delivery@team.telstra.com |
| --- |
| Customer Name: (Party to Facilities Access Agreement or equivalent) |  |
| Exchange Name (& State): |  |
| PSR Reference No.: |  |
| Version No.: |  |
| Customer’s Nominated Contact Point for technical enquiries: | Name: Phone: Email: |
| Customer’s Initial Point of Contact where Telstra should send Study Response: | Name: Phone: Email: |
| Indicative Licence Term (Years) | 2 3 4 5 |
| Site Establishment Fee Estimate Required: | Yes No |
| Preliminary Study Details |
| Telecommunications Building: | Address: State: |
| Equipment type to be installed: |  |
| Proposed use of equipment: |  |
| Order Category Type NOTE: Any order requiring Common Cost work is classified as CAT 3. |
| CAT 1 (“Cable–Only”) (Customer to complete) | Yes No |
| CAT 2 (Rack/Subrack in existing TEBA) (Telstra to complete) | Yes No |
| CAT 3 (New/Augmented TEBA) (Telstra to complete) | Yes No |

| Floor Space requirements: | Number of Racks: Number of 600mm Wide x 900mm Deep (double-sided) Rack footprints: Number of 600mm Wide x 300mm Deep (single-sided) Rack footprints: Cabinet Dimensions: Fully loaded rack weight/s: |
| --- | --- |
| Heat Loading: | Max Heat Load in initial 12 months ( W): Heat Load of fully equipped rack ( W): |
| DC Power requirements. | Single or Dual power feeds required: Circuit Breakers Rating: ( max 32 amp): Total Number of New Feeds: DC Load in initial 12 months ( total DC amps): DC Load at fully equipped rack ( total DC amps): |
| Cabling Requirements – MDF Interconnection Cables (Copper) Refer to document: “ULL & Spectrum Sharing – Internal Interconnection Tie Cables” | Description of cable type (Manufacturer, cable diameter, wire conductor diameter,shielding, type of sheath, etc…): Number of MDF Interconnection Cables to be installed: Number of Pairs per Cable: Number of MDF block positions required: Rack Position cable to be run to if existing: |
| Cabling Requirements – POI-DDF Tie Cables Refer to document: “TEBA: Installation of POI-DDF Tie Cables” | Description of cable type (Manufacturer, cable diameter, wire conductor diameter, shielding, type of sheath, etc…): Total Number of Cables to be installed: Number of Pairs per Cable: Number of DDF block positions required (incl. IN/OUT DDF blocks (64pr x2)): Rack Position cable to be run to if existing: |
| Cabling Requirements – Other | Description of additional cable requirements other than DDF/MDF Tie Cables detailed above (ie. cable type, number of cables, A/B end location of cables, purpose of cables): |
| Special Requirements: | (If possible include detailed information of any extraordinary requirements.) |

| Preliminary Study Assessment (Telstra to complete): NOTE: Information provided in this PSR Assessment is INDICATIVE ONLY and should be confirmed by the customer’s contractor as part of a site visit. Call Telstra’s Technical Point of Contact when on site to clarify any discrepancies. |
| --- |
| TEBA Access Co-ordinator assessing the Preliminary Study request: (Telstra’s Technical Point of Contact) Name: Phone: TAC (region) email box: FTDB No: |
| Indicative Approved Licence Term (Years) Term will commence from the date of D&C Approval. This Indicitive term is valid for a maximum of 3 Months. | 2 3 4 5 Other: |
| Indicative Site Establishment Fee (Wholesale to complete only) $ |
| Floor Space Assessment: Are there any existing leasable TEBA footprints available for rack positions required by the carrier? If YES: Indicate quantity, size and type of rack positions available and rack allocation/s: If NO: Is there space in the exchange and is there a requirement for a new/extended TEBA area ? If YES: Indicate quantity, size and type of leasable rack positions to be created and rack allocation/s: | YES NO NA 600mm W x 900mm D (double-sided) Rack footprints: Quantity = Carrier rack allocation/s: 600mm W x 300mm D (single-sided) Rack footprints: Quantity = Carrier rack allocation/s: YES NO NA If YES: quantity of leasable Footprints to be created 600mm W x 900mm D (double-sided) Rack footprints: Quantity = Footprint location/s to be created: 600mm W x 300mm D (single-sided) Rack footprints: Quantity = Footprint location/s to be created: |

| PROVIDE A FLOORPLAN EXTRACT OF EXISTING OR PROPOSED AREA |  |
| --- | --- |

| Node Code Is a new Node Code required? If YES: Provide new / existing Node Code: | YES NO NA Carrier’s rack Node Code: |
| --- | --- |
| Heat Loading Assessment: Is heat-loading specified in PSR request within acceptable heat-loading limits ? Is an air-conditioning audit required to be undertaken by the customer prior to D&CP submission ? Is a mechanical engineer to be engaged for works to be carried out? If YES: Indicate works required: Other Air Conditioning comments: | YES NO NA YES NO NA YES NO NA Works: Comments: |
| DC Power Assessment: Is sufficient power available? Is there adequate distribution/cct breaker points in the TEBA area to cater for this PSR request ? Is a new DC Distribution panel or rack required? Is a new Power System or Upgrade required ? Is a power audit required to be undertaken by the customer prior to D&CP Submission ? Other power comments, including Primary Power ID: | YES NO NA YES NO NA YES NO NA YES NO NA YES NO NA Primary Power ID: comments: |
| Cabling Assessment – MDF Interconnection Cables: Is there space available on the MDF for MDF block requirements ? if YES, provide MDF allocation ? Is there a requirement to extend the MDF ? If YES: Indicate number of verticals to be installed: Is there a requirement to remove redundant MDF blocks ? Is there a requirement for new/augmented cable trays to the MDF ? | YES NO NA MDF Allocation/s: NB: This allocation is based on a computer based study and may not be 100% accurate. It is the carrier’s responsibility to confirm these allocations are suitable and compliant with Telstra Standards. YES NO NA If YES: Number of verticals to be installed: YES NO NA YES NO Requires Investigation |
| Cabling Assessment – POI-DDF Tie Cables: Is there space available on the DDF for DDF block requirements ? If YES, provide: DDF Location: Horizontal / Vertical DDF Node Code: DDF allocation (if available): Is there a requirement to extend the DDF ? Is there a requirement for new/augmented cable trays to the DDF ? | YES NO NA DDF Location: Horizontal / Vertical: DDF Node Code: DDF Allocation: YES NO NA YES NO Requires Investigation |
| Cabling Assessment – Other: i.e: Optical Fibre |  |
| Can Customer proceed to prepare a D&CP (YES / NO) If YES, customer’s contractor should confirm PSR response and other details for D&CP submission with a site visit. Inform Telstra’s Technical Point of Contact before attending site, so they can arrange to be contacted if contractor needs to clarify any requirements when on site. If NO, customer is to address issues raised in this PSR response, with Telstra’s Technical Point of contact. | YES NO If No, Why: |

| Is the customer required to wait until a 3rd party completes infrastructure work at the site before customer can proceed with their application for this site (Yes / No). If YES, Telstra will contact customer when the work by the 3rd party is at a stage where customer can re-commence their application for this site. | YES NO |
| --- | --- |
| Other comments in response to PSR request, or special requirements to be provided by customer as part of D&CP: |

Preliminary Study Response is valid for 20 Business Days, in which time customer is required to submit a D&CP, or notify Telstra that it does not wish to proceed with the application.  If Customer requires an Extension Of Time (EOT) to prepare the D&CP, EOT request must be submitted to Telstra within 15 Business Days of receipt of this Preliminary Study Response

To access current TEBA documentation including;

- Order Forms,

- Hazard Management Information,

- Technical Documents,

scan the below QR Code with your smart phone or other web enabled device.

If not already installed on your device, a free QR Code reader can be downloaded from the web or app store.

Alternatively, type the following URL into your browser.

http://www.telstrawholesale.com.au/products/facilities/teba/index.htm