018947f03 - TRUNCATED STEEL POLE INSTALLATION RECORD FOR TELSTRA SITESHARE

| Siteshare Ref No: |  | Revision Number |  |
| --- | --- | --- | --- |
| Site Name: |  | Node Manager Address ID: |  |
| Pole Manufacturer: |  | Pole Type: |  |
| Access Seeker Company: |  | Installation company: |  |

| Pole Section | Mark Number | Nominal Slip Distance | Minimum Slip Distance (mm) (90% of Design) | Actual Slip Distance (mm) Achieved (1) |
| --- | --- | --- | --- | --- |
| Base Section |  |  |  |  |
| 2nd Section |  |  |  |  |
| 3rd Section |  |  |  |  |
| 4th Section |  |  |  |  |
| 5th Section |  |  |  |  |
| 6th Section |  |  |  |  |
| 7th Section |  |  |  |  |
| 8th Section |  |  |  |  |

| Design Pole Height (m): |  | Actual Pole Height(2) (m): |  |
| --- | --- | --- | --- |
| Pole Verticality: | North (mm): |  |
|  | East (mm): |  |

| Description | Yes/No/NA | Comments/Details |
| --- | --- | --- |
| Non shrink grout installed under base plate: |  |  |
| Galvanising Repair: |  |  |
| Cable Entry - unused entries covered: |  |  |
| Ladder Installed: |  |  |
| Structure ID plate Installed: |  |  |
| Structure ID Plate Details: |
| Manufacturers Name |  |
| Contract Number |  |
| Date of Manufacture | DD/MM/YYYY |
| Structure Type |  |
| Height in Metres |  |
| Serial/Item (S/I) Note: For non-Telstra Approved structures, reference the drawings. |  |

| Other Comments: |  |
| --- | --- |
| Installer Name: |  | Company Name |  |
| Signed: |  | Date: |  |

(1) Refer Manufacturers Pole Handbook for pre-erection chalk mark lines.

(2) Measured from bottom of base flange to top of pole rim.